## Cortex
Model Coding Form | PPEP 101
P101 Overcueernt & Erth Fault Protection Relay
RATED IN CURRENT
High sensitivity [20mA to 5A] | A
Medium sensitivity [40mA to 20A] | B
Low sensitivity [100mA to 50A] | C
RATED Ip CURRENT
Low operation [100mA to 50A] |  | A
Medium operation [500mA to 100A] |  | B
None |  | C
PARTICULAR CODE
Basic |  |  | A
Basic + CLP + 74 + CBF |  |  | B
Basic + CLP + 74 + CBF + 79 |  |  | C
Basic + CLP + 74 + CBF + Buchholz Trip |  |  | D
ADDITIONAL FUNCTION
Basic |  |  |  | 0
Oscillography + 2 Tables |  |  |  | 1
DIGITAL INPUTS
No DI |  |  |  |  | 0
3 DI |  |  |  |  | 1
AXUILIARY VOLTAGE
110 Vdc (80% to 110% Rated Voltage) | [5 empty] | Y
80-373 Vdc / 80-264 Vac | [5 empty] | Z
COMMUNICATION
Modbus | [6 empty] | 1
PPEP | [6 empty] | 2
REAR COMMUNICATION PORT
No port | [7 empty] | 0
RS-485 | [7 empty] | 4
FRONT COMMUNICATION PORT
No port | [8 empty] | 0
RS-232 | [8 empty] | 2
INTERNAL SUPPLY VOLTAGE MEASUREMENT
None | [9 empty] | 0
Supply voltage measurement | [9 empty] | 1

## Configurator
Model Coding Configurator | PPEP 101
Ready to use configuration
| 41278 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Three Phase and Earth Overcurrent Protection Relay | P101 | B | A | C | 1 | 1 | Z | 1 | 4 | 2 | 1
RATED IN CURRENT
Medium sensitivity [40mA to 20A] | B
High sensitivity [20mA to 5A]
Medium sensitivity [40mA to 20A]
Low sensitivity [100mA to 50A]
RATED Ip CURRENT
Low operation [100mA to 50A] | A
Low operation [100mA to 50A]
Medium operation [500mA to 100A]
None
PARTICULAR CODE
Basic + CLP + 74 + CBF + 79 | C
Basic
Basic + CLP + 74 + CBF
Basic + CLP + 74 + CBF + 79
Basic + CLP + 74 + CBF+ Buchholz Trip
ADDITIONAL FUNCTION
Oscillography + 2 Tables | 1
Basic
Oscillography + 2 Tables
DIGITAL INPUTS
3 DI | 1
No DI
3 DI
AXUILIARY VOLTAGE
80-373 Vdc / 80-264 Vac | Z
110 Vdc (80% to 110% Rated Voltage)
80-373 Vdc / 80-264 Vac
COMMUNICATION
Modbus | 1
Modbus
PPEP
REAR COMMUNICATION PORT
RS-485 | 4
No port
RS-485
FRONT COMMUNICATION PORT
RS-232 | 2
No port
RS-232
INTERNAL SUPPLY VOLTAGE MEASUREMENT
Supply voltage measurement | 1
None
Supply voltage measurement

## Master Text
P101BAC11Z1421
PPEP Relay
Three Phase and Earth Fualt Overcurrent Protection Relay
RATED IN CURRENT
Medium sensitivity [40mA to 20A]
RATED Ip CURRENT
Low operation [100mA to 50A]
PARTICULAR CODE
Basic + CLP + 74 + CBF + 79
ADDITIONAL FUNCTION
Oscillography + 2 Tables
DIGITAL INPUTS
3 DI
AXUILIARY VOLTAGE
80-373 Vdc / 80-264 Vac
COMMUNICATION
Modbus
REAR COMMUNICATION PORT
RS-485
FRONT COMMUNICATION PORT
RS-232
INTERNAL SUPPLY VOLTAGE MEASUREMENT
Supply voltage measurement

## Numbers (hidden)
Earth current input | Code
32 | B
PARTICULAR CODE
27 | C
ADDITIONAL FUNCTION
24 | 1
EXTENTION MODULE
4 | 1
AXUILIARY VOLTAGE
23 | Z
REAR COMMUNICATION PORT
6 | 4
FRONT COMMUNICATION PORT
6 | 2
INTERNAL SUPPLY VOLTAGE MEASURMENT
26 | 1
COMMUNICATION
6 | 1
Phase current input
28 | A
Title
28 | Three Phase and Earth Fualt Overcurrent Protection Relay